- Ministry of Education

- Sector Agriculture

- Occupation:Veterinary Laboratory Service L-V

Materials and supplies (Consumable)

| No | Items | Qty | Unit | Specification |
| --- | --- | --- | --- | --- |
| 1 | Disposable gloves | 2 | pair | Arm length |
| 2 | Surgical glove | 2 | pair | Standard |
| 3 | Needle | 4 | pcs | Standard |
| 4 | Lancets | 4 | pcs | Standard |
| 5 | Scalpel blade | 2 | pcs | Standard |
| 6 | Test tube | 10 | pcs | Standard |
| 7 | Glass slide | 1 | pack | Each containing 50/100pcs |
| 8 | Cover slip | 1 | pack | Each pack containing 100pcs |
| 9 | Vacutainer tube | 10 | pcs | Standard |
| 10 | Cotton | 1 | Roll | standard |
| 11 | Labler | 1 | Roll | Sticker |
| 12 | PH meters | 1 | pack | Standard |
| 13 | glassware (burettes, pipettes) | 2 | pcs | Standard |
| 14 | Disinfectants( Alcohol) | 0. 5 | litre | Denatured |
| 15 | soap | 1 | pc | Detergent |
| 16 | spatulas | 2 | pcs | Wood made |
| 17 | formalin | 0.5 | litre | Presevative |
| 18 | syringes | 2 | pcs | 5-10ml |
| 19 | Tips | 2 | pcs | Standard |
| 20 | salt. | 1 | kg | Common salt(Nacl) |
| 21 | Antigen | 1 | vial | Biological |
| 22 | Stick(For mixing samples) | 2 | pcs | Wood made |

Tools & Equipment

| No. | Items | Qty | Unit | Specification |
| --- | --- | --- | --- | --- |
| 1 | Gown | 1 | pc | Normal Size |
| 2 | Rubber gloves | 1 | pc | Standard |
| 3 | Protective eyewear | 1 | pc | Standard |
| 4 | Hearing protection | 1 | pc | Standard |
| 5 | Respirator or face mask | 1 | pc | Standard |
| 6 | Biohazard cabinets | 1 | pc | Standard |
| 7 | Staining jar | 1 | pc | Glass made |
| 8 | Refrigerator | 1 | pc | Standard |
| 9 | Scalpel handle | 1 | pc | Metalli |
| 10 | Cap | 1 | pc | Plastic |
| 11 | Ice box | 1 | pc | Standard |
| 12 | Slide box | 1 | pc | Wood made |
| 13 | Rack | 1 | pc | metallic |
| 14 | Wire basket | 1 | pc | metallic |
| 15 | Compound Microscope | 1 | pc | Standard |
| 16 | Instrument chart recorders | 1 | pc | Hard cover |
| 17 | balances | 1 | pc | Metallic |
| 18 | biological safety cabinets | 1 | pc | Standard |
| 19 | hydrometers | 1 | pc | Standard |
| 20 | staining jars | 1 | pc | Glass made |
| 21 | flask | 1 | pc | Glass made |
| 22 | Sieve and filters | 1 | pc | Plastic |
| 23 | Mortar and pestle | 1 | pair | Standard/Ceramic |
| 24 | Mac Master Chamber | 1 | pc | Standard |
| 25 | shaker | 1 | pc | Standard |
| 26 | beaker | 1 | pc | plastic |
| 27 | capillary tubes | 1 | pack | Standard |
| 28 | scissor | 1 | pc | Middle size |
| 29 | forceps | 1 | pc |  |
| 29 | Table(bench) | 1 | pc |  |
| 30 | Multi-channel pipettes | 1 | pc |  |
| 31 | Measuring cylinder | 1 | pc | Plastic/Glass |
| 32 | Taste plate(for RBPT) | 1 | pc |  |
| 33 | Petidish | 1 | pc | Plastic/Glass |
| 34 | Incubator | 1 | pc |  |
| 35 | Surgical tray | 1 | pc | Metalic |